

**武汉一沃生物科技有限公司**

**d2eGFP mRNA（N1-Me-Pseudo UTP） Product Inspection Report**

|  |  |  |  |
| --- | --- | --- | --- |
| Product Name | d2eGFP mRNA（N1-Me-Pseudo UTP） | Manufacturing Date |  |
| Cat.No |  | Expiration Date |  |
| Specification |  |

**Inspection Results**

|  |  |  |
| --- | --- | --- |
| **Inspection Items** | **Standard Specifications** | **Inspection Results** |
| Concentration | 1 mg/mL | Meets |
| Purity | ≥98% | Meets |
| Absorbance | A260/280=1.8–2.2, A260/230=1.8–2.5 | Meets |

 Conclusion: Meets Standard Requirements.

Reviewer：

Approver：

批准人：

THIS DOCUMENTCONTAINS CONHDENTLNL AND PROPRIEIARY INFORMATION OF EVO

DO NOT COPY OR DISTRIBUTE WITHOUT PRIOR WRITTEN PERMISSION

本文件包含机密信息且属一沃生物所有，无书面许可禁止复印或分发